## About
BTC BAU Transmission Capacity
Source: | Transmission capacity per circuit
LS Cable
180kV HVDC
Transmission Capacity
http://www.brasilco.com.br/images/equipamentos-ls-cable-system/catalogo-ls/cable-introduction-full-version.pdf
KEPRI
345kV, 765kV
Transmission Capacity
https://www.eszk.org/attachments/l97/ea/koreai_eloadas_mod.pdf
Transmission line length
EPSIS
2020
Transmission capacity
http://epsis.kpx.or.kr/epsisnew/selectEkfaPtcChart.do?menuId=050100
KEPCO
2020~2034
9th Long term transmission plan
https://home.kepco.co.kr/kepco/PR/ntcob/ntcobView.do?pageIndex=1&boardSeq=21053616&boardCd=BRD_000117&menuCd=FN06030103&parnScrpSeq=21024288&searchCondition=total&searchKeyword=9%EC%B0%A8
Note: | calculation formula of transmission capacity (MW*miles)
: transmission capapcity per circuit * transmission line length(circuit-kilometer) * kilometer to miles
| km to miles : | 0.62137

## EPSIS
연도 | 구분 | 선로길이(m) |  |  |  | 회선길이(c-m) |  |  |  | 전체전선길이(m) |  |  |  | 지지물수(기수) | [5 empty] | 애자류(개)
|  | 가공 | 지중 | 수중 | 계 | 가공 | 지중 | 수중 | 계 | 가공 | 지중 | 수중 | 계 | 철탑 | 철주 | 철관주 | 콘크리트주 | 목관주 | 계 | 현수애자(볼형) | 현수애자(클레비형) | 현수애자(내무형) | 기타 | 계
2020 | 765 kV | 552372 | 0 | 0 | 552372 | 1024816 | 0 | 0 | 1024816 | 18446688 | 0 | 0 | 18446688 | 1075 | 0 | 0 | 0 | 0 | 1075 | 0 | 0 | 0 | 0 | 0
2020 | 345 kV | 4444343 | 169191.192 | 0 | 4613534.192 | 9382445 | 430149.55 | 0 | 9812594.55 | 99624852 | 1620272.3 | 0 | 101245124.3 | 12207 | 0 | 82 | 0 | 0 | 12302 | 0 | 0 | 0 | 0 | 0
2020 | 154 kV | 8647384 | 2153890.122 | 2206.67 | 10803480.789 | 19648954.75 | 3831312.63 | 4413.33 | 23484680.72 | 85759235 | 12663120.4 | 13240 | 98435595.4 | 27379 | 58 | 783 | 0 | 0 | 28260 | 0 | 0 | 0 | 0 | 0
2020 | 66 kV | 83949 | 1401 | 0 | 85350 | 110013 | 1401 | 0 | 111414 | 327042 | 4203 | 0 | 331245 | 254 | 34 | 19 | 11 | 0 | 319 | 0 | 0 | 0 | 0 | 0
2020 | 180 kV | 28738 | 5173.45 | 96422 | 130333.45 | 28738 | 9494.45 | 192844 | 231076.45 | 57476 | 10346.9 | 192844 | 260666.9 | 0 | 0 | 24 | 593 | 0 | 618 | 0 | 0 | 0 | 0 | 0
2019 | 765 kV | 552372 | 0 | 0 | 552372 | 1024816 | 0 | 0 | 1024816 | 18446688 | 0 | 0 | 18446688 | 1075 | 0 | 0 | 0 | 0 | 1076 | 0 | 0 | 0 | 0 | 0
2019 | 345 kV | 4450686 | 179744.4417 | 0 | 4630430.442 | 9380389 | 420239.05 | 0 | 9800628.05 | 99614430 | 1539115.3 | 0 | 101153545.3 | 12205 | 0 | 81 | 0 | 0 | 12293 | 0 | 0 | 0 | 0 | 0
2019 | 154 kV | 8641998 | 2068826.439 | 6620 | 10717444.44 | 19585596.75 | 3665772.833 | 13240 | 23264609.59 | 85196114 | 12098589 | 39720 | 97334423 | 27399 | 57 | 750 | 0 | 0 | 28233 | 0 | 0 | 0 | 0 | 0
2019 | 66 kV | 91701 | 1401 | 0 | 93102 | 117583 | 1401 | 0 | 118984 | 351108 | 4203 | 0 | 355311 | 276 | 48 | 25 | 12 | 0 | 361 | 0 | 0 | 0 | 0 | 0
2019 | 180 kV | 28720 | 5173.45 | 96422 | 130315.45 | 28720 | 9494.45 | 192844 | 231058.45 | 57440 | 10346.9 | 192844 | 260630.9 | 0 | 0 | 24 | 591 | 0 | 616 | 0 | 0 | 0 | 0 | 0
2018 | 765 kV | 549699 | 0 | 0 | 549699 | 1019470 | 0 | 0 | 1019470 | 18036828 | 0 | 0 | 18036828 | 1068 | 0 | 0 | 0 | 0 | 1068 | 0 | 0 | 0 | 0 | 0
2018 | 345 kV | 4426786 | 172896 | 0 | 4599682 | 9345178 | 399011 | 0 | 9744189 | 99113790 | 1432423 | 0 | 100546213 | 12171 | 0 | 70 | 0 | 0 | 12246 | 0 | 0 | 0 | 0 | 0
2018 | 154 kV | 8624173 | 1974938 | 6520 | 10605631 | 19538122 | 3480219 | 13040 | 23031381 | 85267130 | 11454628 | 39120 | 96760878 | 27414 | 57 | 711 | 0 | 0 | 28200 | 0 | 0 | 0 | 0 | 0
2018 | 66 kV | 106605 | 1852 | 0 | 108457 | 127140 | 1852 | 0 | 128992 | 378141 | 5557 | 0 | 383698 | 300 | 69 | 27 | 51 | 0 | 447 | 0 | 0 | 0 | 0 | 0
2018 | 180 kV | 28720 | 5173 | 96422 | 130315 | 28720 | 9494 | 192844 | 231058 | 57440 | 10347 | 192844 | 260631 | 0 | 0 | 24 | 591 | 0 | 616 | 0 | 0 | 0 | 0 | 0
2017 | 765 kV | 549636 | 0 | 0 | 549636 | 1019344 | 0 | 0 | 1019344 | 18034560 | 0 | 0 | 18034560 | 1068 | 0 | 0 | 0 | 0 | 1068 | 858194 | 0 | 9936 | 0 | 868130
2017 | 345 kV | 4432409 | 175055 | 0 | 4607464 | 9354974 | 390949 | 0 | 9745923 | 99066798 | 1353150 | 0 | 100419948 | 12173 | 0 | 69 | 0 | 0 | 12254 | 3719832 | 0 | 186074 | 5347 | 3911253
2017 | 154 kV | 8557312 | 1941960 | 6620 | 10505892 | 19385944 | 3432279 | 13240 | 22831462 | 84970733 | 11307069 | 39720 | 96317522 | 27295 | 55 | 677 | 0 | 0 | 28048 | 5328245 | 0 | 246291 | 13869 | 5589035
2017 | 66 kV | 106351 | 1401 | 0 | 107752 | 126886 | 1401 | 0 | 128287 | 377379 | 4203 | 0 | 381582 | 300 | 69 | 27 | 51 | 0 | 447 | 20578 | 0 | 0 | 0 | 20578
2017 | 180 kV | 28662 | 4321 | 96422 | 129405 | 28662 | 8642 | 192844 | 230148 | 58476 | 8642 | 192844 | 259962 | 0 | 0 | 24 | 587 | 0 | 616 | 3684 | 0 | 0 | 0 | 3684
2016 | 765 kV | 547825 | 0 | 0 | 547825 | 1015722 | 0 | 0 | 1015722 | 17005608 | 0 | 0 | 17005608 | 1063 | 0 | 0 | 0 | 0 | 1063 | 909156 | 0 | 14940 | 0 | 924096
2016 | 345 kV | 4415137 | 155126 | 0 | 4570263 | 9315007 | 358253 | 0 | 9673260 | 98645172 | 1267094 | 0 | 99912266 | 12146 | 0 | 39 | 0 | 0 | 12122 | 3700953 | 0 | 182815 | 5593 | 3889361
2016 | 154 kV | 8558875 | 1847870 | 6620 | 10413365 | 19343167 | 3231247 | 13240 | 22587654 | 84681648 | 10618129 | 39720 | 95339497 | 27316 | 56 | 637 | 0 | 0 | 28076 | 5296332 | 0 | 248777 | 14533 | 5559642
2016 | 66 kV | 106392 | 1401 | 0 | 107793 | 126112 | 1401 | 0 | 127513 | 377859 | 4203 | 0 | 382062 | 300 | 67 | 26 | 53 | 1 | 448 | 20608 | 0 | 0 | 0 | 20608
2016 | 180 kV | 29519 | 4321 | 96422 | 130262 | 29519 | 8642 | 192844 | 231005 | 60766 | 8642 | 192844 | 262252 | 1 | 0 | 26 | 602 | 0 | 629 | 3776 | 0 | 0 | 0 | 3776
2015 | 765 kV | 546774 | 0 | 0 | 546774 | 1013620 | 0 | 0 | 1013620 | 16977516 | 0 | 0 | 16977516 | 1063 | 0 | 0 | 0 | 0 | 1063 | 875446 | 0 | 14940 | 0 | 890386
2015 | 345 kV | 4344042 | 143237.1 | 0 | 4487279.1 | 9068923 | 334473 | 0 | 9403396 | 96200178 | 1195580 | 0 | 97395758 | 12091 | 0 | 30 | 0 | 0 | 12122 | 3566876 | 0 | 179349 | 5549 | 3751774
2015 | 154 kV | 8546077 | 1820919.2 | 6620 | 10373616.2 | 19306635 | 3204178 | 13240 | 22524053 | 84541416 | 10514808 | 39720 | 95095944 | 27438 | 53 | 555 | 0 | 0 | 28046 | 5260390 | 0 | 250852 | 13571 | 5524813
2015 | 66 kV | 123182 | 1401 | 0 | 124583 | 142902 | 1401 | 0 | 144303 | 428706 | 4203 | 0 | 432909 | 355 | 67 | 30 | 71 | 1 | 524 | 23243 | 0 | 0 | 0 | 23243
2015 | 180 kV | 29519 | 4321 | 96422 | 130262 | 29519 | 8642 | 192844 | 231005 | 60766 | 8642 | 192844 | 262252 | 1 | 0 | 26 | 602 | 0 | 629 | 3776 | 0 | 0 | 0 | 3776
2014 | 765 kV | 457265 | 0 | 0 | 457265 | 834602 | 0 | 0 | 834602 | 15022836 | 0 | 0 | 15022836 | 902 | 0 | 0 | 0 | 0 | 902 | 647016 | 0 | 6084 | 0 | 653100
2014 | 345 kV | 4302038 | 110060 | 0 | 4412098 | 8927188 | 301180 | 0 | 9228368 | 93451734 | 1045151 | 0 | 94496885 | 11854 | 0 | 28 | 0 | 0 | 11883 | 3501897 | 0 | 178358 | 4527 | 3684782
2014 | 154 kV | 8519933 | 1783861 | 6620 | 10310414 | 19214884 | 3128397 | 13240 | 22356521 | 83923554 | 10246196 | 39720 | 94209470 | 27373 | 49 | 546 | 0 | 0 | 27968 | 5223530 | 0 | 252173 | 13225 | 5488986
2014 | 66 kV | 123182 | 1401 | 0 | 124583 | 142902 | 1401 | 0 | 144303 | 428706 | 4203 | 0 | 432909 | 355 | 67 | 30 | 71 | 1 | 524 | 23242 | 0 | 0 | 0 | 23242
2014 | 180 kV | 29519 | 4321 | 96422 | 130262 | 29519 | 8642 | 192844 | 231005 | 59038 | 8642 | 192844 | 260524 | 0 | 0 | 26 | 603 | 0 | 629 | 5539 | 0 | 0 | 0 | 5539
2013 | 765 kV | 457265 | 0 | 0 | 457265 | 834602 | 0 | 0 | 834602 | 15022836 | 0 | 0 | 15022836 | 902 | 0 | 0 | 0 | 0 | 902 | 647016 | 0 | 6084 | 0 | 653100
2013 | 345 kV | 4221503 | 96739 | 0 | 4318242 | 8722053 | 282931 | 0 | 9004984 | 90926982 | 949925 | 0 | 91876907 | 11631 | 0 | 25 | 0 | 0 | 11657 | 3406723 | 0 | 180210 | 4030 | 3590963
2013 | 154 kV | 8420847 | 1701070 | 6620 | 10128537 | 18985365 | 2977470 | 13240 | 21976075 | 82748061 | 9738785 | 39720 | 92526566 | 27122 | 49 | 526 | 0 | 0 | 27697 | 5128259 | 0 | 253498 | 13044 | 5394801
2013 | 66 kV | 179960 | 1401 | 0 | 181361 | 200024 | 1401 | 0 | 201425 | 600072 | 4203 | 0 | 604275 | 459 | 78 | 33 | 231 | 38 | 839 | 33596 | 0 | 0 | 0 | 33596
2013 | 180 kV | 29552 | 4531 | 96422 | 130505 | 29552 | 9061 | 192844 | 231457 | 59104 | 9061 | 192844 | 261009 | 0 | 0 | 26 | 603 | 0 | 629 | 5543 | 0 | 0 | 0 | 5543
2012 | 765 kV | 457265 | 0 | 0 | 457265 | 834602 | 0 | 0 | 834602 | 15022836 | 0 | 0 | 15022836 | 902 | 0 | 0 | 0 | 0 | 902 | 646668 | 0 | 6084 | 0 | 652752
2012 | 345 kV | 4129849 | 94402 | 0 | 4224251 | 8492012 | 278256 | 0 | 8770268 | 88744824 | 921883 | 0 | 89666707 | 11378 | 0 | 22 | 0 | 0 | 11400 | 3292664 | 0 | 179255 | 4030 | 3475949
2012 | 154 kV | 8372512 | 1596906.8 | 6620 | 9976038.8 | 18748192 | 2816096 | 13240 | 21577528 | 81361362 | 9243038 | 39720 | 90644120 | 27041 | 49 | 483 | 0 | 0 | 27574 | 5071684 | 0 | 236350 | 12892 | 5320926
2012 | 66 kV | 184363 | 1401 | 0 | 185764 | 206941 | 1401 | 0 | 208342 | 620823 | 4203 | 0 | 625026 | 479 | 76 | 35 | 231 | 38 | 859 | 38835 | 0 | 0 | 0 | 38835
2012 | 180 kV | 29467 | 4531 | 96422 | 130420 | 29467 | 9061 | 192844 | 231372 | 58934 | 9061 | 192844 | 260839 | 0 | 0 | 26 | 591 | 0 | 617 | 5459 | 0 | 0 | 0 | 5459
2011 | 765 kV | 457265 | 0 | 0 | 457265 | 834602 | 0 | 0 | 834602 | 15022836 | 0 | 0 | 15022836 | 902 | 0 | 0 | 0 | 0 | 902 | 646668 | 0 | 6084 | 0 | 652752
2011 | 345 kV | 4076848 | 88175 | 0 | 4165023 | 8386626 | 265877 | 0 | 8652503 | 87944262 | 853923 | 0 | 88798185 | 11231 | 0 | 15 | 0 | 0 | 11246 | 3266264 | 0 | 176954 | 0 | 3443218
2011 | 154 kV | 8311326 | 1528586 | 0 | 9839912 | 18613937 | 2665640 | 0 | 21279577 | 80708709 | 8710338 | 0 | 89419047 | 26965 | 44 | 390 | 0 | 0 | 27400 | 5047457 | 0 | 237773 | 0 | 5294567
2011 | 66 kV | 215075 | 1399 | 0 | 216474 | 249370 | 1399 | 0 | 250769 | 748110 | 4197 | 0 | 752307 | 604 | 76 | 35 | 232 | 39 | 986 | 40593 | 0 | 0 | 0 | 40593
2011 | 180 kV | 29467 | 4531 | 96422 | 130420 | 29467 | 9061 | 192844 | 231372 | 58934 | 9061 | 192844 | 260839 | 0 | 0 | 26 | 591 | 0 | 617 | 5431 | 0 | 0 | 0 | 5431
2010 | 765 kV | 457265 | 0 | 0 | 457265 | 834602 | 0 | 0 | 834602 | 15022836 | 0 | 0 | 15022836 | 902 | 0 | 0 | 0 | 0 | 902 | 646668 | 0 | 6084 | 0 | 652752
2010 | 345 kV | 4056289 | 82439 | 0 | 4138728 | 8325858 | 254406 | 0 | 8580264 | 87262608 | 817110 | 0 | 88079718 | 11176 | 0 | 13 | 0 | 0 | 11189 | 3207953 | 0 | 175166 | 0 | 3383119
2010 | 154 kV | 8203835 | 1455416.84 | 0 | 9659251.84 | 18249349 | 2527716 | 0 | 20777065 | 78879414 | 8275929 | 0 | 87155343 | 26703 | 42 | 363 | 0 | 0 | 27109 | 4959662 | 0 | 237922 | 0 | 5204218
2010 | 66 kV | 216951 | 1399 | 0 | 218350 | 251164 | 1399 | 0 | 252563 | 753492 | 4197 | 0 | 757689 | 610 | 75 | 36 | 234 | 39 | 994 | 40125 | 0 | 0 | 0 | 40125
2010 | 180 kV | 29467 | 4530.5 | 96422 | 130419.5 | 29467 | 9061 | 192844 | 231372 | 58934 | 9061 | 192844 | 260839 | 0 | 0 | 26 | 591 | 0 | 617 | 5431 | 0 | 0 | 0 | 5431
2009 | 765 kV | 377337 | 0 | 0 | 377337 | 754674 | 0 | 0 | 754674 | 13584132 | 0 | 0 | 13584132 | 748 | 0 | 0 | 0 | 0 | 748 | 572556 | 0 | 6084 | 0 | 578640
2009 | 345 kV | 4042810 | 82489 | 0 | 4125299 | 8314108 | 237516 | 0 | 8551624 | 87118164 | 766440 | 0 | 87884604 | 11144 | 0 | 13 | 0 | 0 | 11157 | 3078405 | 0 | 165461 | 0 | 3243866
2009 | 154 kV | 8095174 | 1423514 | 0 | 9518688 | 18040438 | 2429008 | 0 | 20469446 | 77843529 | 7970352 | 0 | 85813881 | 26383 | 40 | 321 | 0 | 0 | 26744 | 4832689 | 0 | 214192 | 0 | 5053341
2009 | 66 kV | 216983 | 2577 | 0 | 219560 | 246955 | 2577 | 0 | 249532 | 740865 | 7731 | 0 | 748596 | 610 | 76 | 36 | 237 | 39 | 998 | 52606 | 0 | 0 | 0 | 52606
2009 | 180 kV | 29467 | 4531 | 96422 | 130420 | 29467 | 9061 | 192844 | 231372 | 58934 | 9061 | 192844 | 260839 | 0 | 0 | 26 | 591 | 0 | 617 | 5431 | 0 | 0 | 0 | 5431
2008 | 765 kV | 377337 | 0 | 0 | 377337 | 754674 | 0 | 0 | 754674 | 13584132 | 0 | 0 | 13584132 | 748 | 0 | 0 | 0 | 0 | 748 | 572556 | 0 | 6084 | 0 | 578640
2008 | 345 kV | 3931924 | 82461 | 0 | 4014385 | 8089002 | 220698 | 0 | 8309700 | 85702542 | 715986 | 0 | 86418528 | 10868 | 0 | 13 | 0 | 0 | 10881 | 3078405 | 0 | 165461 | 0 | 3243866
2008 | 154 kV | 8062687 | 1392325 | 0 | 9455012 | 17933437 | 2364651 | 0 | 20298088 | 77411514 | 7628502 | 0 | 85040016 | 26353 | 42 | 292 | 0 | 0 | 26687 | 4832689 | 0 | 214192 | 0 | 5053341
2008 | 66 kV | 272844 | 2577 | 0 | 275421 | 332248 | 2577 | 0 | 334825 | 996744 | 7731 | 0 | 1004475 | 744 | 79 | 37 | 448 | 41 | 1349 | 52606 | 0 | 0 | 0 | 52606
2008 | 180 kV | 29467 | 4603 | 96500 | 130570 | 29467 | 9206 | 193000 | 231673 | 58934 | 9206 | 193000 | 261140 | 0 | 0 | 26 | 591 | 0 | 617 | 5431 | 0 | 0 | 0 | 5431
2007 | 765 kV | 377337 | 0 | 0 | 377337 | 754674 | 0 | 0 | 754674 | 13584132 | 0 | 0 | 13584132 | 748 | 0 | 0 | 0 | 0 | 748 | 572566 | 0 | 6084 | 0 | 578640
2007 | 345 kV | 3926808 | 82461 | 0 | 4009269 | 8063658 | 220698 | 0 | 8284356 | 85430250 | 715986 | 0 | 86146236 | 10844 | 0 | 13 | 0 | 0 | 10857 | 3046624 | 0 | 165473 | 0 | 3212097
2007 | 154 kV | 7967687 | 1328887 | 0 | 9296574 | 17655515 | 2261896 | 0 | 19917411 | 75938268 | 7276221 | 0 | 83214489 | 26060 | 42 | 247 | 0 | 0 | 26349 | 4734654 | 0 | 208277 | 0 | 4948332
2007 | 66 kV | 276498 | 2577 | 0 | 279075 | 335882 | 2577 | 0 | 338459 | 1007646 | 7731 | 0 | 1015377 | 760 | 71 | 37 | 457 | 41 | 1366 | 53214 | 0 | 0 | 0 | 53214
2007 | 180 kV | 29467 | 4603 | 96500 | 130570 | 29467 | 9206 | 193000 | 231673 | 58934 | 9206 | 193000 | 261140 | 0 | 0 | 26 | 591 | 0 | 617 | 5431 | 0 | 0 | 0 | 5431
2006 | 765 kV | 377337 | 0 | 0 | 377337 | 754674 | 0 | 0 | 754674 | 13584132 | 0 | 0 | 13584132 | 748 | 0 | 0 | 0 | 0 | 748 | 572556 | 0 | 6084 | 0 | 578640
2006 | 345 kV | 3926416 | 82280 | 0 | 4008696 | 8058739 | 220334 | 0 | 8279073 | 85392804 | 714894 | 0 | 86107698 | 10836 | 0 | 11 | 0 | 0 | 10847 | 3039436 | 0 | 163696 | 0 | 3203132
2006 | 154 kV | 7836691 | 1285279 | 0 | 9121970 | 17348518 | 2166221 | 0 | 19514739 | 74334267 | 6924604 | 0 | 81258871 | 25684 | 37 | 229 | 0 | 0 | 25950 | 4634555 | 0 | 204419 | 4607 | 4843581
2006 | 66 kV | 399752 | 2577 | 0 | 402329 | 493520 | 2577 | 0 | 496097 | 1480560 | 7731 | 0 | 1488291 | 1049 | 138 | 61 | 799 | 45 | 2092 | 77515 | 0 | 0 | 0 | 77515
2006 | 180 kV | 29467 | 4603 | 96500 | 130570 | 29467 | 9206 | 193000 | 231673 | 58934 | 9206 | 193000 | 261140 | 0 | 0 | 26 | 591 | 0 | 617 | 5431 | 0 | 0 | 0 | 5431
2005 | 765 kV | 330766 | 0 | 0 | 330766 | 661532 | 0 | 0 | 661532 | 11907576 | 0 | 0 | 11907576 | 666 | 0 | 0 | 0 | 0 | 666 | 504582 | 0 | 4752 | 0 | 509334
2005 | 345 kV | 3795651 | 82281 | 0 | 3877932 | 7769806 | 220334 | 0 | 7990140 | 82084968 | 714894 | 0 | 82799862 | 10471 | 0 | 10 | 0 | 0 | 10481 | 2849291 | 0 | 137679 | 0 | 2986970
2005 | 154 kV | 7748800 | 1233600 | 0 | 8982400 | 17110439 | 2080473 | 0 | 19190912 | 73212237 | 6603279 | 0 | 79815516 | 25410 | 46 | 205 | 0 | 0 | 25661 | 4583362 | 407 | 152069 | 2802 | 4738640
2005 | 66 kV | 469660 | 1727 | 0 | 471387 | 565644 | 1727 | 0 | 567371 | 1696932 | 5181 | 0 | 1702113 | 1246 | 146 | 70 | 976 | 45 | 2483 | 81887 | 0 | 0 | 0 | 81887
2005 | 180 kV | 29553 | 4603 | 96500 | 130656 | 29553 | 9206 | 193000 | 231759 | 59106 | 9206 | 193000 | 261312 | 0 | 0 | 25 | 528 | 0 | 553 | 3487 | 0 | 8 | 0 | 3495
2004 | 765 kV | 330604 | 0 | 0 | 330604 | 661208 | 0 | 0 | 661208 | 11901744 | 0 | 0 | 11901744 | 666 | 0 | 0 | 0 | 0 | 666 | 502314 | 0 | 4752 | 0 | 507066
2004 | 345 kV | 3974405 | 82281 | 0 | 4056686 | 7683104 | 220334 | 0 | 7903438 | 81159078 | 714894 | 0 | 81873972 | 10364 | 0 | 1 | 0 | 0 | 10365 | 2756395 | 0 | 196729 | 9858 | 2962982
2004 | 154 kV | 8738307 | 1179268 | 0 | 9917575 | 16755756 | 1967474 | 0 | 18723230 | 72784290 | 6207145 | 0 | 78991435 | 25284 | 43 | 182 | 0 | 0 | 25509 | 4423050 | 180 | 240097 | 2857 | 4666184
2004 | 66 kV | 769704 | 1710 | 0 | 771414 | 887171 | 1710 | 0 | 888881 | 2661213 | 1038 | 1364 | 2663615 | 1953 | 150 | 99 | 1704 | 78 | 3984 | 116602 | 0 | 21852 | 15 | 138469
2004 | 180 kV | 29553 | 4603 | 96500 | 130656 | 29553 | 9206 | 193000 | 231759 | 59106 | 9206 | 193000 | 261312 | 0 | 0 | 25 | 528 | 0 | 553 | 3487 | 0 | 8 | 0 | 3495
2003 | 765 kV | 330604 | 0 | 0 | 330604 | 661208 | 0 | 0 | 661208 | 11901744 | 0 | 0 | 11901744 | 666 | 0 | 0 | 0 | 0 | 666 | 484962 | 216 | 4752 | 17136 | 507066
2003 | 345 kV | 3760491 | 82281 | 0 | 3842772 | 7520430 | 220334 | 0 | 7740764 | 79219656 | 714894 | 0 | 79934550 | 10206 | 0 | 1 | 0 | 0 | 10207 | 2679614 | 72 | 168751 | 9978 | 2858415
2003 | 154 kV | 8573373 | 1094875 | 0 | 9668248 | 16741496 | 1853997 | 0 | 18595493 | 71522013 | 5856326 | 0 | 77378339 | 25072 | 34 | 160 | 0 | 0 | 25266 | 4361361 | 74 | 239881 | 2245 | 4603561
2003 | 66 kV | 849333 | 346 | 2470 | 852149 | 1028208 | 346 | 2470 | 1031024 | 3084624 | 1038 | 2470 | 3088132 | 2229 | 149 | 94 | 1817 | 79 | 4368 | 132833 | 0 | 21729 | 15 | 154577
2003 | 180 kV | 29553 | 4603 | 96500 | 130656 | 29553 | 9206 | 193000 | 231759 | 59106 | 9206 | 193000 | 261312 | 0 | 0 | 25 | 528 | 0 | 553 | 3487 | 0 | 8 | 0 | 3495
2002 | 765 kV | 330939 | 0 | 0 | 330939 | 661878 | 0 | 0 | 661878 | 11907048 | 0 | 0 | 11907048 | 666 | 0 | 0 | 0 | 0 | 666 | 481062 | 216 | 4584 | 17136 | 502998
2002 | 345 kV | 3667707 | 72425 | 0 | 3740132 | 7334862 | 161557 | 0 | 7496419 | 76938540 | 538563 | 0 | 77477103 | 10008 | 0 | 1 | 0 | 0 | 10009 | 2565582 | 0 | 139193 | 28706 | 2733481
2002 | 154 kV | 8368238 | 964400 | 0 | 9332638 | 16501235 | 1643111 | 0 | 18144346 | 71024245 | 5214774 | 0 | 76239019 | 24638 | 33 | 171 | 0 | 0 | 24842 | 4270651 | 592 | 236605 | 1834 | 4509682
2002 | 66 kV | 1177623 | 1285 | 2470 | 1181378 | 1398610 | 1285 | 2470 | 1402365 | 4195917 | 3855 | 2470 | 4202242 | 2903 | 271 | 139 | 2931 | 100 | 6344 | 181593 | 60 | 30904 | 15 | 212572
2002 | 180 kV | 29553 | 4500 | 96500 | 130553 | 29553 | 9000 | 193000 | 231553 | 59106 | 9000 | 193000 | 261106 | 0 | 0 | 25 | 528 | 0 | 553 | 3487 | 0 | 8 | 0 | 3495

## Transmission_Cap
- Transmission Capacity per circuit |  |  |  | - Rate_Calculate
| 345kV | 765kV |  |  | Line volatage (kV)
MW | 1800 | 8400 |  |  | 345 | 765
|  |  |  | Cap (MW) | 1800 | 8400
|  |  |  | rate | 66.125 | 69.6696
|  |  |  | Average rate : |  | 67.8973
* rate : (Line voltage)*(Line volatge)/(Cap)
- Transmission Capacity_Calculate
Line volatage (kV)
[5 empty] | 66 | 154 | 345 | 765 | 180
|  |  |  | Cap (MW) | 64 | 350 | 1800 | 8400 | 1.4286
180kV HVDC Capacity : |  | 1.4286 | MW * c-km |  | * estimated
* estimation formula : (Line voltage)*(Line voltage)/(average rate)

## Line_length
# EPSIS (2010-2020) |  |  |  | * 180 kV : HVDC |  | # EPSIS_cal
연도 | 구분 | 회선길이(c-m)
|  | 가공 | 지중 | 수중 | 계 | c - m | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
2020 | 765 kV | 1024816 | 0 | 0 | 1024816 | 765 kV | 834602 | 834602 | 834602 | 834602 | 834602 | 1013620 | 1015722 | 1019344 | 1019470 | 1024816 | 1024816
2020 | 345 kV | 9382445 | 430149.55 | 0 | 9812594.55 | 345 kV | 8580264 | 8652503 | 8770268 | 9004984 | 9228368 | 9403396 | 9673260 | 9745923 | 9744189 | 9800628.05 | 9812594.55
2020 | 154 kV | 19648954.75 | 3831312.63 | 4413.33 | 23484680.72 | 154 kV | 20777065 | 21279577 | 21577528 | 21976075 | 22356521 | 22524053 | 22587654 | 22831462 | 23031381 | 23264609.59 | 23484680.72
2020 | 66 kV | 110013 | 1401 | 0 | 111414 | 66 kV | 252563 | 250769 | 208342 | 201425 | 144303 | 144303 | 127513 | 128287 | 128992 | 118984 | 111414
2020 | 180 kV | 28738 | 9494.45 | 192844 | 231076.45 | 180 kV | 231372 | 231372 | 231372 | 231457 | 231005 | 231005 | 231005 | 230148 | 231058 | 231058.45 | 231076.45
2019 | 765 kV | 1024816 | 0 | 0 | 1024816
2019 | 345 kV | 9380389 | 420239.05 | 0 | 9800628.05 | c - km | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
2019 | 154 kV | 19585596.75 | 3665772.833 | 13240 | 23264609.59 | 765 kV | 835 | 835 | 835 | 835 | 835 | 1014 | 1016 | 1019 | 1019 | 1025 | 1025
2019 | 66 kV | 117583 | 1401 | 0 | 118984 | 345 kV | 8580 | 8653 | 8770 | 9005 | 9228 | 9403 | 9673 | 9746 | 9744 | 9801 | 9813
2019 | 180 kV | 28720 | 9494.45 | 192844 | 231058.45 | 154 kV | 20777 | 21280 | 21578 | 21976 | 22357 | 22524 | 22588 | 22831 | 23031 | 23265 | 23485
2018 | 765 kV | 1019470 | 0 | 0 | 1019470 | 66 kV | 253 | 251 | 208 | 201 | 144 | 144 | 128 | 128 | 129 | 119 | 111
2018 | 345 kV | 9345178 | 399011 | 0 | 9744189 | 180 kV | 231 | 231 | 231 | 231 | 231 | 231 | 231 | 230 | 231 | 231 | 231
2018 | 154 kV | 19538122 | 3480219 | 13040 | 23031381
2018 | 66 kV | 127140 | 1852 | 0 | 128992 | # KEPCO
2018 | 180 kV | 28720 | 9494 | 192844 | 231058 | c - km | 2010: 2027; 2011: 2034
2017 | 765 kV | 1019344 | 0 | 0 | 1019344 | 765kV | 2010: 1033; 2011: 1033
2017 | 345 kV | 9354974 | 390949 | 0 | 9745923 | 345kV | 2010: 11394; 2011: 13500
2017 | 154 kV | 19385944 | 3432279 | 13240 | 22831462 | 154kV | 2010: 28923; 2011: 31771
2017 | 66 kV | 126886 | 1401 | 0 | 128287 | 66kV | bar: 2010 to 2011
2017 | 180 kV | 28662 | 8642 | 192844 | 230148 | HVDC | 2010: 1771; 2011: 1771
2016 | 765 kV | 1015722 | 0 | 0 | 1015722
2016 | 345 kV | 9315007 | 358253 | 0 | 9673260 | # Known Data (For estimation) | bar: 2010 to 2012
2016 | 154 kV | 19343167 | 3231247 | 13240 | 22587654 | * There is no data about 66kV line in 2023 and 2031, so we used Linear Interpolation | 2017: ** Assume 180kV HVDC is constatnt
2016 | 66 kV | 126112 | 1401 | 0 | 127513
2016 | 180 kV | 29519 | 8642 | 192844 | 231005 | c - km | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2027 | 2034
2015 | 765 kV | 1013620 | 0 | 0 | 1013620 | 765 kV | 835 | 835 | 835 | 835 | 835 | 1014 | 1016 | 1019 | 1019 | 1025 | 1025 | 1033 | 1033
2015 | 345 kV | 9068923 | 334473 | 0 | 9403396 | 345 kV | 8580 | 8653 | 8770 | 9005 | 9228 | 9403 | 9673 | 9746 | 9744 | 9801 | 9813 | 11394 | 13500
2015 | 154 kV | 19306635 | 3204178 | 13240 | 22524053 | 154 kV | 20777 | 21280 | 21578 | 21976 | 22357 | 22524 | 22588 | 22831 | 23031 | 23265 | 23485 | 28923 | 31771
2015 | 66 kV | 142902 | 1401 | 0 | 144303 | 66 kV | 253 | 251 | 208 | 201 | 144 | 144 | 128 | 128 | 129 | 119 | 111 | 0 | 0 | * FORECASTED
2015 | 180 kV | 29519 | 8642 | 192844 | 231005 | 180 kV | 231 | 231 | 231 | 231 | 231 | 231 | 231 | 230 | 231 | 231 | 231 | 231 | 231
2014 | 765 kV | 834602 | 0 | 0 | 834602 |  | 2010: * data from 2010 to 2014 were not reflected in the estimation
2014 | 345 kV | 8927188 | 301180 | 0 | 9228368
2014 | 154 kV | 19214884 | 3128397 | 13240 | 22356521
2014 | 66 kV | 142902 | 1401 | 0 | 144303
2014 | 180 kV | 29519 | 8642 | 192844 | 231005
2013 | 765 kV | 834602 | 0 | 0 | 834602
2013 | 345 kV | 8722053 | 282931 | 0 | 9004984
2013 | 154 kV | 18985365 | 2977470 | 13240 | 21976075
2013 | 66 kV | 200024 | 1401 | 0 | 201425
2013 | 180 kV | 29552 | 9061 | 192844 | 231457
2012 | 765 kV | 834602 | 0 | 0 | 834602
2012 | 345 kV | 8492012 | 278256 | 0 | 8770268
2012 | 154 kV | 18748192 | 2816096 | 13240 | 21577528
2012 | 66 kV | 206941 | 1401 | 0 | 208342
2012 | 180 kV | 29467 | 9061 | 192844 | 231372
2011 | 765 kV | 834602 | 0 | 0 | 834602
2011 | 345 kV | 8386626 | 265877 | 0 | 8652503
2011 | 154 kV | 18613937 | 2665640 | 0 | 21279577
2011 | 66 kV | 249370 | 1399 | 0 | 250769
2011 | 180 kV | 29467 | 9061 | 192844 | 231372
2010 | 765 kV | 834602 | 0 | 0 | 834602
2010 | 345 kV | 8325858 | 254406 | 0 | 8580264
2010 | 154 kV | 18249349 | 2527716 | 0 | 20777065
2010 | 66 kV | 251164 | 1399 | 0 | 252563
2010 | 180 kV | 29467 | 9061 | 192844 | 231372

## Calculations
# Calculated Line Length
| REAL | [10 empty] | FORECASTED
c - km | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
765kV | 835 | 835 | 835 | 835 | 835 | 1014 | 1016 | 1019 | 1019 | 1025 | 1025 | 1023.2547 | 1024.2733 | 1025.2919 | 1026.3105 | 1027.3291 | 1028.3477 | 1029.3663 | 1030.3849 | 1031.4036 | 1032.4222 | 1033.4408 | 1034.4594 | 1035.478 | 1036.4966 | 1037.5152 | 1038.5338 | 1039.5525 | 1040.5711 | 1041.5897 | 1042.6083 | 1043.6269 | 1044.6455 | 1045.6641 | 1046.6827 | 1047.7014 | 1048.72 | 1049.7386 | 1050.7572 | 1051.7758 | 1052.7944
345kV | 8580 | 8653 | 8770 | 9005 | 9228 | 9403 | 9673 | 9746 | 9744 | 9801 | 9813 | 10436.8883 | 10647.4416 | 10857.9949 | 11068.5482 | 11279.1015 | 11489.6548 | 11700.2081 | 11910.7614 | 12121.3147 | 12331.868 | 12542.4213 | 12752.9746 | 12963.5279 | 13174.0812 | 13384.6345 | 13595.1878 | 13805.7411 | 14016.2944 | 14226.8477 | 14437.401 | 14647.9543 | 14858.5076 | 15069.0609 | 15279.6142 | 15490.1675 | 15700.7208 | 15911.2741 | 16121.8274 | 16332.3807 | 16542.934
154kV | 20777 | 21280 | 21578 | 21976 | 22357 | 22524 | 22588 | 22831 | 23031 | 23265 | 23485 | 24935.6252 | 25469.1261 | 26002.6269 | 26536.1277 | 27069.6286 | 27603.1294 | 28136.6303 | 28670.1311 | 29203.632 | 29737.1328 | 30270.6337 | 30804.1345 | 31337.6354 | 31871.1362 | 32404.6371 | 32938.1379 | 33471.6387 | 34005.1396 | 34538.6404 | 35072.1413 | 35605.6421 | 36139.143 | 36672.6438 | 37206.1447 | 37739.6455 | 38273.1464 | 38806.6472 | 39340.1481 | 39873.6489 | 40407.1497
66kV | 253 | 251 | 208 | 201 | 144 | 144 | 128 | 128 | 129 | 119 | 111 | 92.7073 | 84.0364 | 75.3655 | 66.6946 | 58.0237 | 49.3528 | 40.6819 | 32.011 | 23.3401 | 14.6692 | 5.9983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
180kV | 231 | 231 | 231 | 231 | 231 | 231 | 231 | 230 | 231 | 231 | 231 | 230.8782 | 230.8909 | 230.9036 | 230.9162 | 230.9289 | 230.9416 | 230.9543 | 230.967 | 230.9797 | 230.9924 | 231.0051 | 231.0178 | 231.0305 | 231.0431 | 231.0558 | 231.0685 | 231.0812 | 231.0939 | 231.1066 | 231.1193 | 231.132 | 231.1447 | 231.1574 | 231.1701 | 231.1827 | 231.1954 | 231.2081 | 231.2208 | 231.2335 | 231.2462
# Calculated Transmission Capacity
MW*miles | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
765kV | 4358296.194 | 4358296.194 | 4358296.194 | 4358296.194 | 4358296.194 | 5292589.6296 | 5303028.6624 | 5318687.2116 | 5318687.2116 | 5350004.31 | 5350004.31 | 5340894.4434 | 5346211.1081 | 5351527.7729 | 5356844.4377 | 5362161.1024 | 5367477.7672 | 5372794.4319 | 5378111.0967 | 5383427.7615 | 5388744.4262 | 5394061.091 | 5399377.7557 | 5404694.4205 | 5410011.0853 | 5415327.75 | 5420644.4148 | 5425961.0795 | 5431277.7443 | 5436594.4091 | 5441911.0738 | 5447227.7386 | 5452544.4033 | 5457861.0681 | 5463177.7329 | 5468494.3976 | 5473811.0624 | 5479127.7271 | 5484444.3919 | 5489761.0567 | 5495077.7214
345kV | 9596453.724 | 9678101.8734 | 9808962.606 | 10071802.539 | 10321220.8584 | 10516952.7234 | 10818939.0294 | 10900587.1788 | 10898350.2432 | 10962102.9078 | 10975524.5214 | 11673323.5236 | 11908820.6092 | 12144317.6949 | 12379814.7806 | 12615311.8662 | 12850808.9519 | 13086306.0376 | 13321803.1232 | 13557300.2089 | 13792797.2946 | 14028294.3802 | 14263791.4659 | 14499288.5516 | 14734785.6372 | 14970282.7229 | 15205779.8086 | 15441276.8942 | 15676773.9799 | 15912271.0656 | 16147768.1512 | 16383265.2369 | 16618762.3226 | 16854259.4082 | 17089756.4939 | 17325253.5796 | 17560750.6652 | 17796247.7509 | 18031744.8365 | 18267241.9222 | 18502739.0079
154kV | 4518578.8435 | 4627971.208 | 4692780.2033 | 4779337.1836 | 4862197.0065 | 4898516.1414 | 4912434.8518 | 4965282.4554 | 5008778.4254 | 5059668.7103 | 5107514.2773 | 5422996.0307 | 5539021.7146 | 5655047.3986 | 5771073.0826 | 5887098.7665 | 6003124.4505 | 6119150.1345 | 6235175.8184 | 6351201.5024 | 6467227.1864 | 6583252.8703 | 6699278.5543 | 6815304.2383 | 6931329.9222 | 7047355.6062 | 7163381.2902 | 7279406.9741 | 7395432.6581 | 7511458.3421 | 7627484.026 | 7743509.71 | 7859535.394 | 7975561.078 | 8091586.7619 | 8207612.4459 | 8323638.1299 | 8439663.8138 | 8555689.4978 | 8671715.1818 | 8787740.8657
66kV | 10061.2392 | 9981.7037 | 8271.6908 | 7993.3165 | 5726.5551 | 5726.5551 | 5090.2712 | 5090.2712 | 5130.039 | 4732.3615 | 4414.2196 | 3686.7592 | 3341.9372 | 2997.1152 | 2652.2932 | 2307.4712 | 1962.6492 | 1617.8272 | 1273.0052 | 928.1832 | 583.3612 | 238.5392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
180kV | 205.0524 | 205.0524 | 205.0524 | 205.0524 | 205.0524 | 205.0524 | 205.0524 | 204.1648 | 205.0524 | 205.0524 | 205.0524 | 204.9443 | 204.9556 | 204.9668 | 204.9781 | 204.9893 | 205.0006 | 205.0119 | 205.0231 | 205.0344 | 205.0457 | 205.0569 | 205.0682 | 205.0795 | 205.0907 | 205.102 | 205.1133 | 205.1245 | 205.1358 | 205.1471 | 205.1583 | 205.1696 | 205.1808 | 205.1921 | 205.2034 | 205.2146 | 205.2259 | 205.2372 | 205.2484 | 205.2597 | 205.271
total | 18483595.0531 | 18674556.0316 | 18868515.7465 | 19217634.2856 | 19547645.6664 | 20713990.102 | 21039697.8673 | 21189851.2817 | 21231150.9716 | 21376713.342 | 21437662.3807 | 22441105.7011 | 22797600.3248 | 23154094.9484 | 23510589.5721 | 23867084.1957 | 24223578.8194 | 24580073.443 | 24936568.0667 | 25293062.6903 | 25649557.314 | 26006051.9377 | 26362652.8441 | 26719492.2898 | 27076331.7355 | 27433171.1811 | 27790010.6268 | 28146850.0724 | 28503689.5181 | 28860528.9637 | 29217368.4094 | 29574207.8551 | 29931047.3007 | 30287886.7464 | 30644726.192 | 31001565.6377 | 31358405.0834 | 31715244.529 | 32072083.9747 | 32428923.4203 | 32785762.866

## BTC
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (MW*miles) | 18483595.0531 | 18674556.0316 | 18868515.7465 | 19217634.2856 | 19547645.6664 | 20713990.102 | 21039697.8673 | 21189851.2817 | 21231150.9716 | 21376713.342 | 21437662.3807 | 22441105.7011 | 22797600.3248 | 23154094.9484 | 23510589.5721 | 23867084.1957 | 24223578.8194 | 24580073.443 | 24936568.0667 | 25293062.6903 | 25649557.314 | 26006051.9377 | 26362652.8441 | 26719492.2898 | 27076331.7355 | 27433171.1811 | 27790010.6268 | 28146850.0724 | 28503689.5181 | 28860528.9637 | 29217368.4094 | 29574207.8551 | 29931047.3007 | 30287886.7464 | 30644726.192 | 31001565.6377 | 31358405.0834 | 31715244.529 | 32072083.9747 | 32428923.4203 | 32785762.866