## About
BS BAU Subsidy for Thermal Fuels per Energy Unit Produced
BS BAU Subsidy per Unit Electricity Output
BS BAU Subsidy per Unit Electricity Capacity Built
Source: | Fine dust project evaluation
NABO
2019
Domestic emission reduction: industry
https://www.nabo.go.kr/system/common/JSPservlet/download.jsp?fCode=33315609&fSHC=&fName=%EB%AF%B8%EC%84%B8%EB%A8%BC%EC%A7%80+%EB%8C%80%EC%9D%91+%EC%82%AC%EC%97%85+%EB%B6%84%EC%84%9D.pdf&fMime=application/pdf&fBid=19&flag=bluenet
page 49, 61
Generation share of coal
Index Korea
2021
Generation share by source
https://www.index.go.kr/potal/main/EachDtlPageDetail.do?idx_cd=1339
KOSIS
2020
Generation capacity by company
https://kosis.kr/statHtml/statHtml.do?orgId=388&tblId=TX_38803_A000A
Cost of PV, hydro, wind and bioenergy in 2010-2019
IRENA
2019
Global weighted average total installed costs
https://www.irena.org/Statistics/View-Data-by-Topic/Costs/Global-Trends
Installation cost of PV and wind in 2025 for estimating CAGR
IRENA
2019
The Power to change: solar and wind cost reduction potential to 2025
https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2016/IRENA_Power_to_Change_2016.pdf
Page 10
Installation cost of renewables in 2030 and 2050 for estimating CAGR
Price prediction of solar photovoltaic in 2030 and 2050
IRENA
2019
Future of solar photovoltaic
https://irena.org/-/media/Files/IRENA/Agency/Publication/2019/Nov/IRENA_Future_of_Solar_PV_2019.pdf
Page 27
Price prediction of onshore and offshore wind in 2030 and 2050
Future of wind
https://www.irena.org/-/media/files/irena/agency/publication/2019/oct/irena_future_of_wind_2019.pdf
Page 32, 48
Projecting installation cost and LCOE of solar PV and onshore wind
KEEI
2020
Projecting CAPEX of solar PV, and projecting LCOE of solar PV and wind (2020 est.)
http://www.keei.re.kr/web_keei/d_results.nsf/0/A10FCB3438C55F4349258669004FC436/$file/%EA%B8%B0%EB%B3%B8%202020-21_%EC%9E%AC%EC%83%9D%EC%97%90%EB%84%88%EC%A7%80%20%EA%B3%B5%EA%B8%89%ED%99%95%EB%8C%80%EB%A5%BC%20%EC%9C%84%ED%95%9C%20%EC%A4%91%EC%9E%A5%EA%B8%B0%20%EB%B0%9C%EC%A0%84%EB%8B%A8%EA%B0%80(LCOE)%20%EC%A0%84%EB%A7%9D%20%EC%8B%9C%EC%8A%A4%ED%85%9C%20%EA%B5%AC%EC%B6%95%20%EB%B0%8F%20%EC%9A%B4%EC%98%81.pdf
Page 120, 121
Projecting installation cost and LCOE of offshore wind
KEEI
2019
Offshore wind CAPEX breakdown in 2018, and LCOE trend between 2018 and 2030 in South Korea
https://signal.sedaily.com/Common/FileDownload?fileName=%EC%84%B8%EA%B3%84_%EC%9E%AC%EC%83%9D%EC%97%90%EB%84%88%EC%A7%80_%EC%9E%90%EA%B5%AD%EC%82%B0_%EB%B6%80%ED%92%88%EC%82%AC%EC%9A%A9%EC%9A%94%EA%B1%B4_%EC%A0%95%EC%B1%85%EC%97%90_%EB%8C%80%ED%95%9C_%EB%8C%80%EC%9D%91%EB%B0%A9%EC%95%88_%EC%97%B0%EA%B5%AC.pdf&fullPath=/Service/Branch/Signal/Report/2020/04/17/%EC%84%B8%EA%B3%84_%EC%9E%AC%EC%83%9D%EC%97%90%EB%84%88%EC%A7%80_%EC%9E%90%EA%B5%AD%EC%82%B0_%EB%B6%80%ED%92%88%EC%82%AC%EC%9A%A9%EC%9A%94%EA%B1%B4_%EC%A0%95%EC%B1%85%EC%97%90_%EB%8C%80%ED%95%9C_%EB%8C%80%EC%9D%91%EB%B0%A9%EC%95%88_%EC%97%B0%EA%B5%AC.pdf
Page 79, 80
Tax credit for investment in new and renewable energy manufacturing facilities
Integrated Investment Tax Credit (Article 24)
https://glaw.scourt.go.kr/wsjo/lawod/sjo192.do?lawodNm=%EC%A1%B0%EC%84%B8%ED%8A%B9%EB%A1%80%EC%A0%9C%ED%95%9C%EB%B2%95&jomunNo=24&jomunGajiNo=
Notes
Korea's dependence on fuel imports is 94%, so fuel production is limited.
https://kosis.kr/statHtml/statHtml.do?orgId=339&tblId=DT_F_M110
Most of the fuel produced is hard coal and natural gas, but there is no corresponding PTC (Production Tax Credit).
As there was no official estimate for the cost of dismantling nuclear power plants in Korea, it was assigned as 0 won.
Subsidy (Subsidies Paid) for automatic chimney measurement equipment was divided by anthracite and bituminous coal capacity and allocated to BSpUEO.
BS-BSpUECB
There are errors that may occur in the subsidy for power generation facilities (BS-BSpUECB)
The tax credit for domestic renewable energy facilities can be explained in two ways.
1. Tax deducted by applying a specific ratio (ex, 1, 3, 7%) to the facility investment cost.
2. Profit and loss * Tax deducted by applying a specific ratio to the tax to which corporate tax has been applied
The data in the data sheet was calculated based on 1. For this reason, the subsidy received by small power generators supported by the scheme 2 may be distorted.
For example, in the case of a large-scale power plant, profit and loss for the period is high enough to receive tax credit benefits under 1
However, in the case of small-scale power generation operators, the profit or loss is small, so they cannot receive a tax credit for power generation facilities. So, they get a tax deduction based on 2.
To reduce errors, the results tab was drawn up using the fact that investment tax credits can be deducted over 10 years.
In addition, there is a minimum tax, so even if you receive benefits, a power company cannot pay less than the minimum tax, but the minimum tax was not applied.
USD | 1179.9
1MW | 1000 | kW

## 에너지원별 발전량
통계표명: | 에너지원별 발전량 현황
단위: | GWh, %
|  | 계 | 원자력 | 석탄 | 가스 | 신재생 | 유류 | 양수 | 기타
2011 | 발전량 | 496893 | 154723 | 202856 | 112646 | 12190 | 11245 | 3233 | -
| 비중 | 100 | 31.1 | 40.8 | 22.7 | 2.5 | 2.3 | 0.7 | -
2012 | 발전량 | 509574 | 150327 | 202191 | 125285 | 12587 | 15501 | 3683 | -
| 비중 | 100 | 29.5 | 39.7 | 24.6 | 2.5 | 3 | 0.7 | -
2013 | 발전량 | 517148 | 138784 | 204196 | 139783 | 14449 | 15832 | 4105 | -
| 비중 | 100 | 26.8 | 39.5 | 27 | 2.8 | 3.1 | 0.8 | -
2014 | 발전량 | 521971 | 156407 | 207214 | 127472 | 17447 | 8364 | 5068 | -
| 비중 | 100 | 30 | 39.7 | 24.4 | 3.3 | 1.6 | 1 | -
2015 | 발전량 | 528091 | 164762 | 211393 | 118695 | 19464 | 10127 | 3650 | -
| 비중 | 100 | 31.2 | 40 | 22.5 | 3.7 | 1.9 | 0.7 | -
2016 | 발전량 | 540441 | 161995 | 213803 | 121018 | 25836 | 14001 | 3787 | -
| 비중 | 100 | 30 | 39.6 | 22.4 | 4.8 | 2.6 | 0.7 | -
2017 | 발전량 | 553530 | 148427 | 238799 | 126039 | 30817 | 5263 | 4186 | -
| 비중 | 100 | 26.8 | 43.1 | 22.8 | 5.6 | 1 | 0.8 | -
2018 | 발전량 | 570647 | 133505 | 238967 | 152924 | 35598 | 5740 | 3911 | 0
| 비중 | 100 | 23.4 | 41.9 | 26.8 | 6.2 | 1 | 0.7 | 0
2019 | 발전량 | 563040 | 145910 | 227384 | 144355 | 36392 | 3292 | 3458 | 2249
| 비중 | 100 | 25.9 | 40.4 | 25.6 | 6.5 | 0.6 | 0.6 | 0.4
2020 | 발전량 | 552162 | 160184 | 196333 | 145911 | 36527 | 2255 | 3271 | 7681
| 비중 | 100 | 29 | 35.6 | 26.4 | 6.6 | 0.4 | 0.6 | 1.4

## 발전사별 설비용량
용도및회사별(1) | 용도및회사별(2) | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020
용도및회사별(1) | 용도및회사별(2) | 합계 | 원자력 | 기력 | 기력 | 기력 | 기력 | 기력 | 복합화력 | 복합화력 | 복합화력 | 내연력 | 내연력 | 내연력 | 집단에너지 | 집단에너지 | 집단에너지 | 집단에너지 | 집단에너지 | 양수 | 신재생 | 신재생 | 신재생 | 신재생 | 신재생 | 기타
용도및회사별(1) | 용도및회사별(2) | 소계 | 소계 | 소계 | 유연탄 | 무연탄 | 중유 | LNG | 소계 | 경유 | LNG | 소계 | 중유 | 경유 | 소계 | 유연탄 | 유류 | LNG | 기타 | 소계 | 소계 | 수력 | 태양광 | 풍력 | 기타 | 소계
합계 | 소계 | 130978873 | 23250000 | 37950658 | 34950658 | 400000 | 1200000 | 1400000 | 33012852 | 612045 | 32400807 | 175680 | 80000 | 95680 | 9190984 | 1502724 | 259300 | 7368960 | 60000 | 4700000 | 20544895 | 1805768 | 14574793 | 1635802 | 2528532 | 366204
사업용발전설비 | 소계 | 129191273 | 23250000 | 37950658 | 34950658 | 400000 | 1200000 | 1400000 | 33012852 | 612045 | 32400807 | 175680 | 80000 | 95680 | 9190984 | 1502724 | 259300 | 7368960 | 60000 | 4700000 | 20544895 | 1805768 | 14574793 | 1635802 | 2528532 | 366204
| 한국전력㈜ | 97103 | - | - | - | - | - | - | - | - | - | 95680 | - | 95680 | - | - | - | - | - | - | 1423 | 700 | 723 | - | - | -
| 한수원㈜ | 28600394 | 23250000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 4700000 | 650394 | 606800 | 42844 | 750 | - | -
| 남동발전㈜ | 10398395 | - | 8988600 | 8988600 | - | - | - | 922064 | - | 922064 | - | - | - | - | - | - | - | - | - | 487731 | 18599 | 33922 | 58300 | 376910 | -
| 중부발전㈜ | 10726134 | - | 6088058 | 6088058 | - | - | - | 3779527 | - | 3779527 | 80000 | 80000 | - | 530441 | - | - | 530441 | - | - | 238108 | 12500 | 15008 | 26000 | 184600 | 10000
| 서부발전㈜ | 11361489 | - | 7500000 | 6100000 | - | - | 1400000 | 3386900 | - | 3386900 | - | - | - | - | - | - | - | - | - | 474589 | 2200 | 48099 | 16000 | 408290 | -
| 남부발전㈜ | 11431991 | - | 6044000 | 6044000 | - | - | - | 5060845 | 146245 | 4914600 | - | - | - | - | - | - | - | - | - | 327146 | 2810 | 26116 | 39500 | 258720 | -
| 동서발전㈜ | 11238189 | - | 8140000 | 6540000 | 400000 | 1200000 | - | 2971900 | - | 2971900 | - | - | - | - | - | - | - | - | - | 126289 | 8198 | 48811 | 3000 | 66280 | -
| 포스코에너지㈜ | 3197669 | - | - | - | - | - | - | 3176000 | - | 3176000 | - | - | - | - | - | - | - | - | - | 21669 | - | 14469 | - | 7200 | -
| GS EPS㈜ | 2467084 | - | - | - | - | - | - | 2261750 | - | 2261750 | - | - | - | - | - | - | - | - | - | 205334 | - | 334 | - | 205000 | -
| 지역난방공사 | 2280523 | - | - | - | - | - | - | - | - | - | - | - | - | 2220162 | - | 145000 | 2075162 | - | - | 19921 | - | 2421 | - | 17500 | 40440
| 씨지앤 | 1980900 | - | - | - | - | - | - | 1855500 | 465800 | 1389700 | - | - | - | - | - | - | - | - | - | 125400 | - | - | - | 125400 | -
| 동두천드림파워㈜ | 1718662 | - | - | - | - | - | - | 1716800 | - | 1716800 | - | - | - | - | - | - | - | - | - | 1862 | - | 1862 | - | - | -
| 파주에너지서비스 | 1715000 | - | - | - | - | - | - | 1695200 | - | 1695200 | - | - | - | - | - | - | - | - | - | 19800 | - | - | - | 19800 | -
| 포천파워㈜ | 1450664 | - | - | - | - | - | - | 1450000 | - | 1450000 | - | - | - | - | - | - | - | - | - | 664 | - | 664 | - | - | -
| GS 파워㈜ | 1409147 | - | - | - | - | - | - | - | - | - | - | - | - | 1381690 | - | - | 1381690 | - | - | 27457 | 1030 | 4017 | 7050 | 15360 | -
| 수자원공사 | 1366584 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1366584 | 1089657 | 14927 | 8000 | 254000 | -
| ㈜GS동해전력 | 1200101 | - | 1190000 | 1190000 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 10101 | 5000 | 5101 | - | - | -
| 기타 | 26551244 | - | - | - | - | - | - | 4736366 | - | 4736366 | - | - | - | 5058691 | 1502724 | 114300 | 3381667 | 60000 | - | 16440423 | 58274 | 14315474 | 1477202 | 589472 | 315764
구역전기설비 | 소계 | 1787600 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## Subsidies Paid
Model Energy Source | Subsidy Name | Fuel/Electricity | Unit | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
biomass | no Subsidy | Electricity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
coal | Amortization of air pollution control facilities | Electricity | $ | 2018: 90685.6513; 2019: 1655055.5132; 2020: 1655055.5132
hydro | no Subsidy | Electricity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear | Special rules for nuclear decommissioning costs | Electricity | $
solar pv | no Subsidy | Electricity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
offshore wind | no Subsidy | Electricity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
onshore wind | no Subsidy | Electricity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
geothermal | no Subsidy | Electricity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 발전사별 설비용량 | 2020: 설비비율
|  |  | 유연탄 | 2018: 34950658; 2019: kW; 2020: 98.87%
|  |  | 무연탄 | 2018: 400000; 2019: kW; 2020: 1.132%
무연탄, 유연탄 별 발전기여도(추정)(MWh)
|  |  | 구분 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
|  |  | 유연탄 | 200560642.4426 | 199903167.055 | 201885480.0657 | 204869330.7721 | 209001044.5235 | 211383774.8755 | 236096939.9705 | 236263039.0157 | 224811103.0542 | 194111451.5355
| 굴뚝자동측정기기 예산, 석탄지원금으로 할당 |  | 무연탄 | 2295357.5574 | 2287832.945 | 2310519.9343 | 2344669.2279 | 2391955.4765 | 2419225.1245 | 2702060.0295 | 2703960.9843 | 2572896.9458 | 2221548.4645
Notes
대기오염물질 총량관리대상 사업장은 굴뚝자동측정기기 설치가 의무 사항이고, 이를 예산을 통해 설치유도 및 운영지원을 하고 있다.
무연탄과 유연탄 발전이 합쳐진 지원 예산 현황 자료를 발전기여도를 통해 분할하였다.

## LCOE
LCOE전망(won/kWh)
| 2020 | 2030 | CAGR
solar pv | 133.3 | 106.2 | -0.02033 | =>태양광 CAGR만 현물가격 감소에 반영 | 전원구성 전망 확인 후 offshore과 산술평균수치를 적용할지 생각중
onshore wind | 131.6 | 122.7 | -0.0067629
offshore wind | 215 | 155 | -0.027907
Notes
solar pv, onshore wind
URL: | https://home.kepco.co.kr/kepco/KR/ntcob/ntcobView.do?pageIndex=1&boardSeq=21049282&boardCd=BRD_000516&menuCd=FN3113
solar pv | 125.0694 | => 사회적 관점 선택
onshore wind | 123.8895 | => 사회적 관점 선택
offshore wind

## Cal-CAPEX
| IRENA, 연도별 신재생에너지 kW당 설치비용 |  |  |  | $/kW
| year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| solar pv | 4702.362 | 3936.326 | 2984.701 | 2615.289 | 2362.966 | 1800.941 | 1637.269 | 1414.678 | 1208.364 | 994.695 | 960.5792 | 926.4633 | 892.3475 | 858.2317 | 824.1158 | 790 | 729.64 | 669.28 | 608.92 | 548.56 | 488.2 | 476.78 | 465.36 | 453.94 | 442.52 | 431.1 | 419.68 | 408.26 | 396.84 | 385.42 | 374 | 362.58 | 351.16 | 339.74 | 328.32 | 316.9 | 305.48 | 294.06 | 282.64 | 271.22 | 259.8
| onshore wind | 1949 | 1939 | 1972 | 1828 | 1781 | 1642 | 1635 | 1628 | 1549 | 1473 | 1455.8333 | 1438.6667 | 1421.5 | 1404.3333 | 1387.1667 | 1370 | 1289 | 1208 | 1127 | 1046 | 965 | 954.5 | 944 | 933.5 | 923 | 912.5 | 902 | 891.5 | 881 | 870.5 | 860 | 849.5 | 839 | 828.5 | 818 | 807.5 | 797 | 786.5 | 776 | 765.5 | 755
| offshore wind | 4650 | 5326 | 4741 | 5738 | 5245 | 5260 | 4280 | 4683 | 4245 | 3800 | 3825 | 3850 | 3875 | 3900 | 3925 | 3950 | 3590 | 3230 | 2870 | 2510 | 2150 | 2133.5 | 2117 | 2100.5 | 2084 | 2067.5 | 2051 | 2034.5 | 2018 | 2001.5 | 1985 | 1968.5 | 1952 | 1935.5 | 1919 | 1902.5 | 1886 | 1869.5 | 1853 | 1836.5 | 1820
| hydro | 1234.26 | 1210.083 | 1286.921 | 1517.231 | 1587.465 | 1452.069 | 1839.237 | 1768.749 | 1455.857 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289 | 1709.289
| bio | 2588.099 | 1301.988 | 1494.864 | 3027.785 | 2982.498 | 2591.813 | 2175.08 | 2897.302 | 1693.367 | 2140.643 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439 | 2289.3439
| IRENA 바탕으로 CAGR 추정후, 한국 CAPEX에 적용 | $/kW 2014: blue is assumption value
CAGR
| solar pv | 2010: -3.105%; 2011: 2030-2050
| onshore wind | 2010: -1.22%; 2011: 2030-2050
| offshore wind | 2010: -2.612%; 2011: 2018-2050
| CAPEX(won) | 2012: 1000; $/kW 2013: won/kW
| solar pv | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1513.3 | 1468.42 | 1423.54 | 1378.66 | 1333.78 | 1288.9 | 1242.14 | 1195.38 | 1148.62 | 1101.86 | 1055.1 | 1022.3408 | 990.5987 | 959.8422 | 930.0406 | 901.1643 | 873.1845 | 846.0735 | 819.8043 | 794.3506 | 769.6873 | 745.7897 | 722.6341 | 700.1974 | 678.4574 | 657.3924 | 636.9814 | 617.2041 | 598.0409 | 579.4726 | 561.4809
| onshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2522.4 | 2481.9 | 2441.4 | 2400.9 | 2360.4 | 2319.9 | 2296.4 | 2272.9 | 2249.4 | 2225.9 | 2202.4 | 2175.5405 | 2149.0086 | 2122.8003 | 2096.9116 | 2071.3386 | 2046.0775 | 2021.1245 | 1996.4758 | 1972.1277 | 1948.0765 | 1924.3187 | 1900.8506 | 1877.6687 | 1854.7695 | 1832.1496 | 1809.8055 | 1787.734 | 1765.9316 | 1744.3951 | 1723.1212
| offshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5730 | 5580.3402 | 5434.5893 | 5292.6452 | 5154.4085 | 5019.7823 | 4888.6724 | 4760.987 | 4636.6365 | 4515.5338 | 4397.5942 | 4282.735 | 4170.8758 | 4061.9382 | 3955.8459 | 3852.5246 | 3751.9018 | 3653.9073 | 3558.4722 | 3465.5297 | 3375.0148 | 3286.864 | 3201.0156 | 3117.4094 | 3035.9869 | 2956.691 | 2879.4663 | 2804.2585 | 2731.0151 | 2659.6847 | 2590.2174 | 2522.5644 | 2456.6784
| hydro | 2010: IRENA 데이터 사용
| bio | 2010: IRENA 데이터 사용
| CAPEX(USD) | $/kW 2013: $/kW; $/kW 2020: 반영 시작 수치
| solar pv | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1282.5663 | 1244.5292 | 1206.4921 | 1168.455 | 1130.4178 | 1092.3807 | 1052.7502 | 1013.1198 | 973.4893 | 933.8588 | 894.2283 | 866.4639 | 839.5616 | 813.4945 | 788.2368 | 763.7633 | 740.0496 | 717.0722 | 694.8083 | 673.2355 | 652.3326 | 632.0787 | 612.4537 | 593.4379 | 575.0126 | 557.1594 | 539.8605 | 523.0986 | 506.8572 | 491.1201 | 475.8716
| onshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2137.8083 | 2103.4833 | 2069.1584 | 2034.8335 | 2000.5085 | 1966.1836 | 1946.2666 | 1926.3497 | 1906.4327 | 1886.5158 | 1866.5989 | 1843.8347 | 1821.3481 | 1799.1358 | 1777.1944 | 1755.5205 | 1734.111 | 1712.9626 | 1692.0721 | 1671.4363 | 1651.0522 | 1630.9168 | 1611.0269 | 1591.3795 | 1571.9718 | 1552.8007 | 1533.8635 | 1515.1572 | 1496.679 | 1478.4262 | 1460.396
| offshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4856.3438 | 4729.5027 | 4605.9745 | 4485.6727 | 4368.513 | 4254.4134 | 4143.2939 | 4035.0767 | 3929.686 | 3827.0479 | 3727.0906 | 3629.7441 | 3534.9401 | 3442.6122 | 3352.6959 | 3265.128 | 3179.8473 | 3096.794 | 3015.91 | 2937.1385 | 2860.4244 | 2785.714 | 2712.955 | 2642.0963 | 2573.0883 | 2505.8827 | 2440.4325 | 2376.6917 | 2314.6157 | 2254.1611 | 2195.2855 | 2137.9476 | 2082.1073
For CAPEX
| mismatch for assumption | 2011: 2020-2025; 2012: 2025-2030
|  | solar pv | 44.88 | 46.76
|  | onshore wind | 40.5 | 23.5
For CAGR
solar pv
|  | min | max | min & max
| 2030 | 2010: 340; 2011: 834; 2012: 30%; $/kW 2013: 가정
| 2050 | 2010: 165; 2011: 481
onshore wind
|  | min | max
| 2030 | 2010: 800; 2011: 1350
| 2050 | 2010: 650; 2011: 1000
offshore wind
|  | min | max
| 2030 | 2010: 1700; 2011: 3200
| 2050 | 2010: 1400; 2011: 2800
| mismatch for assumption | 2011: 2020-2024; 2012: 2026-2029; $/kW 2013: 2031-2050
|  | solar pv | 34.1158 | 60.36 | 11.42
|  | onshore wind | 17.1667 | 81 | 10.5
|  | offshore wind | 25 | 360 | 16.5
|  | hydro | 2020, 수력은 2019가격에 고정 |  |  |  | 비용이 상승하는 추세지만, 결국 한정된 건설환경으로 수요 또한 감소할 것으로 추정, 두 효과가 상충된다고 가정하여 2019 고정
|  | bio | 2020, 바이오는 2010-2019의 평균가 고정 |  |  |  | 규칙을 찾을 수 없음, 평균가격에 고정
조세특례제한법 제25조 2
중소기업 | bar: 2010
중견기업 | bar: 2010
내국법인(내국인) | bar: 2010
Notes
offshore wind CAPEX
해당 reference를 확인한 결과 위 원/kW는 오타이며 1000원/kW가 맞음

## Sheet1 (hidden)
한국 에너지 구성비(비율, 수입량, 수입의존도, 수입액) 정리
page 4~
| 구성비 | 2016 | 2017 | 2018
| 석탄(Coal) | 27.7 | 28.5 | 28.2
| 석유(Petroleum) | 40 | 39.5 | 38.5
| 천연가스(LNG) | 15.5 | 15.7 | 18
| 수력(Hydro) | 0.5 | 0.5 | 0.5
| 원자력(Nuclear) | 11.6 | 10.5 | 9.2
| 신재생(Renewables) | 4.6 | 5.2 | 5.6
1,000 ton
| 수입량 | 2016 | 2017 | 2018
| 무연탄(Anthracite) | 9424 | 7003 | 8126
| 유연탄(Bituminous) | 118468 | 131464 | 131520
| 기타석탄(Others) | 7038 | 10210 | 9450
| 원유(Crude Oil) | 1078119 | 1118167 | 1116281
| 석유제품(Petroleum Products) | 334608 | 314487 | 341628
| 천연가스(LNG) | 33453 | 37537 | 44015
| 원자력 연료(Uranium) | 752 | 1012 | 723
| 수출량 | 2016 | 2017 | 2018
| 석유제품(Petroleum Products) | 487716 | 509113 | 531563
Million USD(CIF)
| 수입액 | 2016 | 2017 | 2018
| 무연탄(Anthracite) | 759 | 933 | 1199
| 유연탄(Bituminous) | 8168 | 13481 | 14668
| 기타석탄(Others) | 383 | 765 | 835
| 원유(Crude Oil) | 44295 | 59603 | 80393
| 나프타(Naphtha) | 8933 | 10899 | 15671
| LPG | 2576 | 2959 | 3665
| 천연가스(LNG) | 12170 | 15616 | 23189
| 원자력 연료(Uranium) | 589 | 991 | 576
1차에너지 공급구조
| 생산 | 2016 | 2017 | 2018
| 무연탄(Anthracite) | 1373 | 1244 | 1099 | 1000 ton | => 무연탄 지원금을 찾아보자
| 천연가스(LNG) | 118 | 261 | 234 | 1000 ton
| 수력(Hydro) | 6634 | 6995 | 7270 | GWh
| 신재생(Renewables) | 13575 | 15848 | 17119 | 1000 toe
| 수입 | 2016 | 2017 | 2018
| 석탄(Coal) | 127936 | 138506 | 139876 | 1000 ton
| 석유(Petroleum) | 921082 | 937095 | 931787 | 1000 bbl
| 원자력(Nuclear) | 161995 | 148427 | 133505 | GWh
| 천연가스(LNG) | 34788 | 36138 | 42051 | 1000 ton

## BS-BSfTFpEUP
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
electricity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hard coal ($/BTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas ($/BTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass ($/BTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum gasoline ($/BTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum diesel ($/BTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biofuel gasoline | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biofuel diesel | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
jet fuel ($/BTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lignite ($/BTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
crude oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heavy fuel oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LPG propane or butane | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
municipal solid waste | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydrogen | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BS-BSpUEO-PreRet
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
hard coal ($/MWh) | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263
natural gas nonpeaker ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
onshore wind ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar PV ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar thermal ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
geothermal ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas peaker ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lignite ($/MWh) | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05
offshore wind ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
crude oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heavy or residual fuel oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
municipal solid waste ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BS-BSpUEO-PreNonRet
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
hard coal ($/MWh) | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263
natural gas nonpeaker ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
onshore wind ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar PV ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar thermal ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
geothermal ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas peaker ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lignite ($/MWh) | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05
offshore wind ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
crude oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heavy or residual fuel oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
municipal solid waste ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BS-BSpUEO-NewBlt
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
hard coal ($/MWh) | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263 | 0.0085263
natural gas nonpeaker ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
onshore wind ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar PV ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar thermal ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
geothermal ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas peaker ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lignite ($/MWh) | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05 | 9.6477e-05
offshore wind ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
crude oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heavy or residual fuel oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
municipal solid waste ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BS-BSpUECB
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
hard coal ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas nonpeaker ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro ($/MW) | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67 | 51278.67
onshore wind ($/MW) | 59932.6214 | 59118.9931 | 58340.0471 | 57596.6163 | 56889.5233 | 56219.5808 | 55587.5916 | 54951.1246 | 54310.9632 | 53667.8811 | 53022.6427 | 52376.0028 | 51737.2491 | 51106.2853 | 50483.0165 | 49867.3487 | 49259.1894 | 48658.4469 | 48065.0308 | 47478.8517 | 46899.8214 | 46327.8526 | 46327.8526 | 46327.8526 | 46327.8526 | 46327.8526 | 46327.8526 | 46327.8526 | 46327.8526 | 46327.8526 | 46327.8526
solar PV ($/MW) | 33294.1775 | 32129.1635 | 30994.9677 | 29894.1762 | 28829.2949 | 27802.7518 | 26816.8994 | 25878.7975 | 24990.655 | 24154.6119 | 23372.7421 | 22647.0551 | 21943.8994 | 21262.5757 | 20602.406 | 19962.7336 | 19342.9219 | 18742.3545 | 18160.4337 | 17596.5807 | 17050.2344 | 16520.8513 | 16520.8513 | 16520.8513 | 16520.8513 | 16520.8513 | 16520.8513 | 16520.8513 | 16520.8513 | 16520.8513 | 16520.8513
solar thermal ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass ($/MW) | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317 | 68680.317
geothermal ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas peaker ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lignite ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
offshore wind ($/MW) | 123019.5377 | 119806.4345 | 116677.2532 | 113629.8019 | 110661.9458 | 107771.6062 | 104956.7582 | 102215.4303 | 99545.7021 | 96945.7036 | 94413.6135 | 91947.6582 | 89546.1103 | 87207.2876 | 84929.5517 | 82711.3072 | 80551.0002 | 78447.1175 | 76398.1854 | 74402.7686 | 72459.4693 | 70566.9264 | 70566.9264 | 70566.9264 | 70566.9264 | 70566.9264 | 70566.9264 | 70566.9264 | 70566.9264 | 70566.9264 | 70566.9264
crude oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heavy or residual fuel oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
municipal solid waste ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BSpUECB
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
hard coal ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas nonpeaker ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro ($/MW) | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867 | 5127.867
onshore wind ($/MW) | 6413.4249 | 6310.45 | 6207.4752 | 6104.5004 | 6001.5256 | 5898.5507 | 5838.7999 | 5779.0491 | 5719.2982 | 5659.5474 | 5599.7966 | 5531.504 | 5464.0444 | 5397.4074 | 5331.5831 | 5266.5615 | 5202.3329 | 5138.8877 | 5076.2162 | 5014.309 | 4953.1567 | 4892.7503 | 4833.0806 | 4774.1385 | 4715.9153 | 4658.4022 | 4601.5904 | 4545.4716 | 4490.0371 | 4435.2786 | 4381.188
solar PV ($/MW) | 3847.699 | 3733.5876 | 3619.4762 | 3505.3649 | 3391.2535 | 3277.1421 | 3158.2507 | 3039.3593 | 2920.4678 | 2801.5764 | 2682.685 | 2599.3918 | 2518.6848 | 2440.4835 | 2364.7103 | 2291.2898 | 2220.1488 | 2151.2167 | 2084.4248 | 2019.7066 | 1956.9979 | 1896.2362 | 1837.361 | 1780.3138 | 1725.0379 | 1671.4782 | 1619.5814 | 1569.2959 | 1520.5717 | 1473.3604 | 1427.6148
solar thermal ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass ($/MW) | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317 | 6868.0317
geothermal ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas peaker ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lignite ($/MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
offshore wind ($/MW) | 13817.9234 | 13457.018 | 13105.539 | 12763.2401 | 12429.8816 | 12105.23 | 11789.0579 | 11481.1437 | 11181.2718 | 10889.2322 | 10604.8202 | 10327.8367 | 10058.0877 | 9795.3841 | 9539.542 | 9290.3821 | 9047.7299 | 8811.4155 | 8581.2733 | 8357.1421 | 8138.8649 | 7926.2888 | 7719.2649 | 7517.6482 | 7321.2974 | 7130.0751 | 6943.8472 | 6762.4834 | 6585.8565 | 6413.8429 | 6246.322
crude oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heavy or residual fuel oil ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
municipal solid waste ($/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes
세액공제의 이월공제기간이 10년인 것을 적용한 데이터